## Sheet1
25 uL rxn
Volume per Rxn/ul | Reagent | No of Rxns -> | 9
2.5 | 10x NH4 OR KCl Buffer | 22.5
2 | 25 mM Mg2+ *, ** | 18
0.125 | Taq Polymerase*** | 1.125
0.5 | 10 mM dNTPs (10 mM each)~~ | 4.5
0.5 | 10 uM Forward Primer ~
0.5 | 10 uM Reverse Primer ~
1 | 20 ng/ul genomic DNA
5 | 5 M Betaine (if desired) | 45
12.875 | Milli Q Water | 115.875
25
*(or 2.5 ul if NH4 buffer used)
** To optimize/troubleshoot, vary with 0.25 ul increments between 2 and 4 ul when KCl buffer used, between 1.5-2.5 uL when NH4 buffer used.
*** Gently pipette up and down >20 times once in MasterMix. Glycerol prevents thorough diffusing.
~ To prepare: 5 uL of 100 uM stock in 45 uL nuclease free water
~~ 10 uL per dNTP in 60 uL water (total 100 uL)
Cycle Conditions
95 | 3 mins
95 | 1 min, ramp: 1 C/s | cycle step 1
Anealing Temp 5 C below Melting Temp of Primer Pair | 30 s ramp: 1C/s | cycle step 2
72 | 1 min ramp: 1C/s | cycle step 3
72 | 5 min